Sample

Hot Work Permit

HOT WORK PERMIT

This model form/template must be customized to meet your Agency’s needs.

All temporary operations involving open flames or producing heat and/or sparks require a Hot Work Permit. This includes, but is not limited to, Brazing, Cutting, Grinding, Soldering, Thawing, and Welding.

INSTRUCTIONS FOR FIRE SAFETY SUPERVISOR

- Verify precautions listed at right (or do not proceed with the work).

- Complete page 1 and retain for job files.

- Post page 2 in vicinity of hot work.

DATE	JOB NO.

LOCATION/BUILDING & FLOOR (Be Specific)

DESCRIPTION OF WORK BEING PERFORMED

NAME OF PERSON DOING HOT WORK

The above location has been examined, the precautions checked on the Hot Work Checklist have been taken to prevent fire, and permission is authorized for this work.

SIGNED:

________________________________________________

(Individual Authorizing Work)

SIGNED:

(Individual Authorizing Work)

SIGNED:

(Fire Watch)

TIME STARTED:   Date:  	         Time:	            AM/PM

TIME FINISHED: Date:  	         Time:	            AM/PM

FIRE WATCH SIGNOFF

Work area and all adjacent areas to which sparks and heat might have spread were inspected during the fire watch period and were found fire safe.

Signed:	
FINAL CHECKUP (minimum 30 minutes after Hot Work) Work area was monitored for	 hour(s) following Hot
Work and found fire safe.                                                  Signed:

FILL OUT EMERGENCY INFORMATION ON BACK OF Page 2.

OK	HOT WORK CHECKLIST	    N/A

Sprinklers and hose streams in service/operable.

Hot Work Equipment in good condition (e.g., power

source, welding leads, torches, etc.)

Multi-purpose fire extinguisher and/or water

pump can.

REQUIREMENTS WITHIN 35 FEET OF WORK

Dust, Lint, Debris, Flammable Liquids and

oily deposits removed; floors swept clean.

Explosive atmosphere in area eliminated.

Combustible floors (e.g., wood, tile, carpeting)

wet down, covered with damp sand or fire blankets.

Remove flammable and combustible material where possible. Otherwise protect with fire blankets, guards, or metal shields.

All wall and floor openings covered.

Walkways protected beneath hot work.

WORK ON WALLS OR CEILINGS

Combustibles moved away from other

side of wall.

WORK IN CONFINED SPACES

Confined space cleaned of all combustibles

(example: grease, oil, flammable vapors).

Containers purged of flammable liquids/vapors.

Follow confined space guidelines.

FIRE WATCH/HOT WORK AREA MONITORING

Fire watch will be provided during and for 30

minutes after work, including any coffee or lunch breaks.

Fire watch is supplied with an extinguisher, and/or

water pump can, also making use of other

extinguishers located throughout work area.

Fire watch is trained in use of this equipment

and familiar with location of sounding alarm.

Fire watch may be required for opposite side

of walls, above, and below floors and ceilings.

OTHER PRECAUTIONS TAKEN

_____________________________________

_____________________________________

WARNING!

HOT WORK IN PROGRESS

IN CASE OF AN EMERGENCY: CALL: _____________________________________ AT: (________) ______________________________ l

WATCH FOR FIRE!

SITE ADDRESS:

WARNING!

HOT WORK IN PROGRESS

WATCH FOR FIRE!

_____________________________________________________________________