 **Well Site Inspection Checklist**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| District:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Location:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | | | | | | Frequency:  🞏 Quarterly 🞏 Annual 🞏 Other:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | | |
| **All “No” answers need corrective actions identified and completed** | | | | | | | | |
| Hazard | | Yes | No | NA | Target Date for Completion | | Date Completed | Corrective Action Needed |
| 1 | Are the appropriate “No Trespassing” and “High Voltage” signs posted as needed? |  |  |  |  | |  |  |
| 2 | Are fire extinguishers in the appropriate places and in good order? |  |  |  |  | |  |  |
| 3 | Are electrical panels closed, secure, and properly labeled? |  |  |  |  | |  |  |
| 4 | Are electrical connections secure and the conduit free of damage? |  |  |  |  | |  |  |
| 5 | Are guards and screens in place? |  |  |  |  | |  |  |
| 6 | Is electrical machinery in good condition and properly grounded? |  |  |  |  | |  |  |
| 7 | Are all walkways (min. 24”) clear of debris and tripping hazards? |  |  |  |  | |  |  |
| 8 | Are storage shelves secure to prevent tipping? |  |  |  |  | |  |  |
| 9 | Is there appropriate lighting for work tasks and regularly maintained? |  |  |  |  | |  |  |
| 10 | If there effective ventilation for work tasks? |  |  |  |  | |  |  |
| 11 | Are tools properly placed, secured, and maintained? |  |  |  |  | |  |  |
| 12 | Are electrical ground plugs in place? |  |  |  |  | |  |  |
| 13 | Is required personal protective equipment available to employees? |  |  |  |  | |  |  |
| 14 | Are chemicals stored according to SDS? |  |  |  |  | |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hazard | | Yes | No | NA | Target Date for Completion | Date Completed | Action Needed |
| 15 | Are compressed gas cylinders secured and stored properly? |  |  |  |  |  |  |
| 16 | Are chemical containers labeled and legible? |  |  |  |  |  |  |
| 17 | Are flammable materials stored in accordance with Cal/OSHA standards §5531 to §5543? |  |  |  |  |  |  |
| 18 | Are SDSs available for all chemicals stored on-site? |  |  |  |  |  |  |
| 19 | Are chemical waste and containers properly disposed of? |  |  |  |  |  |  |
| 20 | Is there appropriate security lighting? |  |  |  |  |  |  |
| 21 | Are ladder doors locked in place? |  |  |  |  |  |  |
| 22 | Is the facility secure and locked to prevent unwanted entry? |  |  |  |  |  |  |
| 23 | Are outside walking surfaces free of trip hazards? |  |  |  |  |  |  |
| 24 | Are weeds abated to prevent grass fires? |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| Person Conducting Inspection: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | | | | | | | |