Regular construction site safety inspections shall be conducted and documented to ensure compliance with written agreements, safety standards, and best practices.  Inspections at a construction site should be conducted pre and post construction or during construction, if your Agency retains the responsibility of site control.

The inspection process is separate from a contractor’s supervision of the work.  An inspection should be carried out as an independent view of the construction work.

Specific inspections may also be carried out during the construction phase as part of the process with the general contract administration.

Inspections must be conducted by a “qualified person”.

This model form/template must be customized to meet your Agency’s needs.

| Name of Person Completing Checklist: | Title: |
| --- | --- |
| Location: | Date/Time: |

Note: This checklist should be used only as a general guideline.

General Jobsite

1. Are posters and safety signs or warnings in place? 	 Yes    No   N/A

2. Are safety meetings held periodically? 	 Yes    No   N/A

3. Is a first-aid kit available and adequately stocked? 	 Yes    No   N/A

4. Has job-related safety training been completed? 	 Yes    No   N/A

5. Has an accident reporting procedure been established? 	 Yes    No   N/A

6. Is a substance abuse policy in place? 	 Yes    No   N/A

7. Are injury records being kept? 	 Yes    No   N/A

8. Are emergency telephone numbers posted?	 Yes    No   N/A

9. Are traffic routes identified? 	 Yes    No   N/A

10. Are there procedures to handle hazardous waste? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Injury Illness Prevention Plan (IIPP)

1. Is the written IIPP readily available for review? 	 Yes    No   N/A

2. Is the person with authority & responsibility for the IIPP identified?	 Yes    No   N/A

3. Is there a process to ensure workers follow safe work practices?	 Yes    No   N/A

4. Are safety communications in a form readily understandable by all?	 Yes    No   N/A

For any item marked “No” above list date of correction:

Hazard Communications

- Is there a written program? 	 Yes    No   N/A

- Are employees trained? 	 Yes    No   N/A

- Are safety data sheets / MSDS on file and readily available? 	 Yes    No   N/A

- Are control and disposal measure(s) established? 	 Yes    No   N/A

- Are material(s) properly stored and labeled? 	 Yes    No   N/A

- Is a log of all chemicals on site available? 	 Yes    No   N/A

- Are labels legible? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Fire Prevention

- Is there a written program? 	 Yes    No   N/A

- Are employees trained? 	 Yes    No   N/A

- Are safety data sheets / MSDS on file and readily available? 	 Yes    No   N/A

- Are control and disposal measure(s) established?	 Yes    No   N/A

- Are material(s) properly stored and labeled? 	 Yes    No   N/A

- Is a log of all chemicals on site available? 	 Yes    No   N/A

- Are labels legible? 	 Yes    No   N/A

- Is a fire alarm available? 	 Yes    No   N/A

- Is a fire evacuation plan established? 	 Yes    No   N/A

- Are fuel supplies protected from accidental impact? 	 Yes    No   N/A

- Is fire training given to appropriate personnel? 	 Yes    No   N/A

- Is equipment shut down prior to refueling? 	 Yes    No   N/A

- Is equipment properly grounded to fuel trucks before refueling? 	 Yes    No   N/A

- Are no-smoking signs posted and enforced? 	 Yes    No   N/A

- Are hydrants clear and access to public thoroughfare open? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Sanitation and Housekeeping

- Are work area(s) generally neat and clean?	 Yes    No   N/A

- Is waste and trash regularly disposed of? 	 Yes    No   N/A

- Are passageways and walkways clear? 	 Yes    No   N/A

- Is the work area well lighted? 	 Yes    No   N/A

- Are waste containers provided and used?  	 Yes    No   N/A

- Are sanitary facilities adequate and clean? 	 Yes    No   N/A

- Is there an adequate potable water supply? 	 Yes    No   N/A

- Are there adequate drinking cups?	 Yes    No   N/A

- Have nails, boards, and debris been removed?	 Yes    No   N/A

- Are eye-flushing facilities available? 	 Yes    No   N/A

- Are emergency showers available?	 Yes    No   N/A

- Are shade structures available for workers? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Electrical

- Do electrical devices have a current inspection and coding? 	 Yes    No   N/A

- Is electrical equipment properly maintained? 	 Yes    No   N/A

- Is equipment properly grounded? 	 Yes    No   N/A

- Is an assured equipment grounding program established? 	 Yes    No   N/A

- Are ground fault circuit interrupters used and tested where required? 	 Yes    No   N/A

- Are fuses provided? 	 Yes    No   N/A

- Are electrical dangers posted? 	 Yes    No   N/A

- Are proper fire extinguisher(s) provided? 	 Yes    No   N/A

- Are terminal boxes equipped with required covers, and is the cover used?  Yes    No   N/A

- Are circuits labeled in terminal boxes? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Flammable Liquids/Materials

- Are empty containers removed? 	 Yes    No   N/A

- Are only approved containers being used?	 Yes    No   N/A

- Are containers stored in approved and appropriate area(s)? 	 Yes    No   N/A

- Is outside storage bermed for containment? 	 Yes    No   N/A

- Are storage tanks properly grounded/bonded with pressure relief? 	 Yes    No   N/A

- Are cylinders stored or secured in an upright position? 	 Yes    No   N/A

For any item marked “No” above list date of correction:

Personal Protective Equipment (PPE)

- Have hazard evaluations been performed and documented? 		     Yes    No   N/A

- Is protective equipment adequate for exposure? 				     Yes    No   N/A

- Are employees issued PPE where needed? 				     Yes    No   N/A

- Is PPE being used?								     Yes    No   N/A

- Are employees trained in the use of PPE?					     Yes    No   N/A

- Are inspections being conducted before and after use of PPE? 	     	     Yes    No   N/A

- Is adequate maintenance and sanitary storage available and used? 	     Yes    No   N/A

- Is adequate fall protection provided? 						     Yes    No   N/A

- Is eye protection available? 							     Yes    No   N/A

- Is face protection (glasses, goggles, shields) available? 			     Yes    No   N/A

- Is hearing protection available? 						     Yes    No   N/A

- Are respirators and masks provided? 					     Yes    No   N/A

- Are respirators used to protect against harmful dust or fumes? 		     Yes    No   N/A

- Is head protection available? 							     Yes    No   N/A

- Is hand and foot protection available?					     Yes    No   N/A

For any item marked “No” above list date of correction:

Ladders

- Are ladders inspected and in good condition?				     Yes    No   N/A

- Are ladders used properly? 							     Yes    No   N/A

- Are ladders secured to prevent slipping, sliding, or falling? 		     Yes    No   N/A

- Do siderails extend 36 inches above top of landing? 			     Yes    No   N/A

- Are any ladders spliced? 							     Yes    No   N/A

- Are rungs or cleats not over 12 inches at center? 				     Yes    No   N/A

- Are ladders properly maintained and stored? 				     Yes    No   N/A

- Are any ladders painted? 							     Yes    No   N/A

- Is fall protection provided for fixed ladders in excess of 20 feet long? 	     Yes    No   N/A

- Are aluminum ladders of sufficient strength for the task? 			     Yes    No   N/A

For any item marked “No” above list date of correction:

Scaffolds

- Is erecting the scaffold properly supervised? 				     Yes    No   N/A

- Are all structural members free from defects, and meet safety factors?	     Yes    No   N/A

- Are all scaffold connections secured?					     Yes    No   N/A

- Are scaffolds erected on solid footing? 					     Yes    No   N/A

- Is scaffold tied to structure? 							     Yes    No   N/A

- Are working areas free of dirt, debris, snow, ice, and grease? 		     Yes    No   N/A

- Are employees protected from falling objects?				     Yes    No   N/A

- Is scaffold plumb and square, with cross-bracing? 				     Yes    No   N/A

- Are guard rails, intermediate rails, and toeboards in place? 		     Yes    No   N/A

- Are ropes and cables in good condition? 					     Yes    No   N/A

- Is fall protection available and in use? 					     Yes    No   N/A

- Are operations supervised by a competent person? 			     Yes    No   N/A

For any item marked “No” above list date of correction:

Trenching/Excavation/Shoring

- Are trenches properly shored and sloped, or are trench boxes used? 	    Yes    No   N/A

- Are operations supervised by a competent person? 			    Yes    No   N/A

- Are spoils piles at least 2 feet from edges of cut? 				    Yes    No   N/A

- Are ladders placed to ensure no more than 25 feet of lateral travel? 	    Yes    No   N/A

- Are ladders properly secured? 						    Yes    No   N/A

- Are adjacent structures properly shored? 					    Yes    No   N/A

- Is shoring and sheathing correct for soil and depth? 			    Yes    No   N/A

- Are roads and sidewalks supported and protected? 			    Yes    No   N/A

- Is excavation barricaded and lighting provided? 				    Yes    No   N/A

- Are equipment ramps adequate? 						    Yes    No   N/A

- Have underground utility installations been identified? 			    Yes    No   N/A

- Are registered professional engineer designs or approvals performed? 	    Yes    No   N/A

- Are confined-space entry permit required plans established? 		    Yes    No   N/A

- Are daily inspections completed by a competent person? 			    Yes    No   N/A

For any item marked “No” above list date of correction:

Heavy Equipment

- Is regular inspection and maintenance performed? 			    Yes    No   N/A

- Are seat belts and rollover protection provided? 				    Yes    No   N/A

- Are backup alarms working and audible? 					    Yes    No   N/A

- Mobile equipment traveling < 25 mph have correct emblem attached?	    Yes    No   N/A

- Are employees riding equipment with proper seating? 			    Yes    No   N/A

- Are lights, brakes, and warning signals operative? 				    Yes    No   N/A

- Are wheels chocked when necessary? 					    Yes    No   N/A

- Are haul roads well maintained and laid out properly? 			    Yes    No   N/A

- Is equipment properly secured when not in use? 				    Yes    No   N/A

- Are noise arresters used? 							    Yes    No   N/A

- Are spark arresters used as necessary? 					    Yes    No   N/A

For any item marked “No” above list date of correction:

Handling & Storage of Materials

- Are materials properly stored or stacked? 					    Yes    No   N/A

- Are shelves, racks, and overhead storage load-rated? 			    Yes    No   N/A

- Are passageways clear? 							    Yes    No   N/A

- Are there sufficient employees to do the job? 				    Yes    No   N/A

- Are employees lifting materials correctly? 					    Yes    No   N/A

- Are materials protected from weather? 					    Yes    No   N/A

- Are employees protected from falling into hoppers and bins? 		    Yes    No   N/A

- Is dust protection used? 							    Yes    No   N/A

- Is the correct type of fire extinguisher(s) available? 			    Yes    No   N/A

- Is traffic controlled through the storage area? 				    Yes    No   N/A

- Is rigging inspected prior to use? 						    Yes    No   N/A

- Is a competent person responsible for materials storage and handling?     Yes    No   N/A

For any item marked “No” above list date of correction:

Barricades

- Are floor openings planked over or barricaded? 				   Yes    No   N/A

- Are roadways and sidewalks protected? 					   Yes    No   N/A

- Is adequate lighting provided? 						   Yes    No   N/A

- Are barricades or covers installed around floor/wall/roof openings? 	   Yes    No   N/A

For any item marked “No” above list date of correction:

Welding and Cutting

- Are all welding and cutting operators qualified? 				  Yes    No   N/A

- Are screens and shields in place? 						  Yes    No   N/A

- Is oxygen and acetylene stored properly? 					  Yes    No   N/A

- Are bottles not in use secured with caps in place? 				  Yes    No   N/A

- Is proper eye protection and PPE used? 					  Yes    No   N/A

- Are fire extinguisher(s) located near operations? 				  Yes    No   N/A

- Is “hot work” permit completed/posted in areas requiring a permit? 	  Yes    No   N/A

- Are valves shut off and regulators backed off each night? 		  Yes    No   N/A

- Are flashback arresters placed on hoses (O2 and fuel gas)?		  Yes    No   N/A

- Is electrical equipment grounded? 						  Yes    No   N/A

- Is the area inspected for fire hazards? 					  Yes    No   N/A

- Are gas lines and power cables protected and in good condition? 	  Yes    No   N/A

- Is proper ventilation ensured? 							  Yes    No   N/A

- Is there a welding permit program? 						  Yes    No   N/A

For any item marked “No” above list date of correction:

Temporary Traffic Control

- Are flaggers trained and donning proper attire? 				  Yes    No   N/A

- Are adequate warning signs and markers used? 				  Yes    No   N/A

- Is equipment not blocking the right of way?					 Yes    No   N/A

- Is traffic control used through construction site? 				 Yes    No   N/A

- Are detours adequately marked and maintained? 				 Yes    No   N/A

- Is dust control used? 								 Yes    No   N/A

- Is adequate lighting provided? 						 Yes    No   N/A

- Are barricades erected with correct directional stripes? 			 Yes    No   N/A

For any item marked “No” above list date of correction:

Site Control

- Are warning signs in place? 						           Yes    No   N/A

- Are appropriate controls in place to control dust? 			           Yes    No   N/A

- Are open ditches protected? 						           Yes    No   N/A

- Are drop-offs protected? 						           Yes    No   N/A

- Are ladders lowered? 							           Yes    No   N/A

- Are hazard lights used? 						           Yes    No   N/A

- Is equipment secured? 							           Yes    No   N/A

- Are utility ditches/trenches flagged or barricaded? 			           Yes    No   N/A

For any item marked “No” above list date of correction: