Manhole Inspection Checklist

Manhole Inspection Checklist

Manhole Number: ___________		Inspector: _____________________________

Manhole Barrier Diameter: ___________		Interceptor: _________________

Manhole Depth (Rim to Invert):___________________

This model form/template must be customized to meet your Agency’s needs.

| Item Inspected | Date Inspected (date each line that applies) |  |  | Repairs Needed ( each that applies) |  |  | Repairs Made | Date Repairs Made |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| COVER | Lift Pin | / / |  | Needs Pin |  |  |  | / / |
|  | Bolt Down | / / |  | Bolt Missing |  |  |  | / / |
|  | Locking | / / |  | Replace |  |  |  | / / |
|  | Non-Rocking | / / |  |  |  |  |  |  |
| CASTING | Badly Rusted | / / |  | Reset |  |  |  | / / |
|  | Knocked Loose | / / |  | Raise |  |  |  | / / |
|  | Good Condition | / / |  | Replace |  |  |  | / / |
| CHIMNEY | Brick | / / |  | Leaks |  |  |  | / / |
|  | Concrete | / / |  | Re-mortar |  |  |  | / / |
|  | Good Condition | / / |  | Replace |  |  |  | / / |
|  | Loose Mortar | / / |  |  |  |  |  | / / |
|  | Offset Opening | / / |  |  |  |  |  | / / |
|  | Center Opening | / / |  |  |  |  |  | / / |
| BARRELS | Good Condition | / / |  | Leaks |  |  |  | / / |
|  | Slight Corrosion | / / |  |  |  |  |  | / / |
|  | Bad Corrosion | / / |  |  |  |  |  | / / |
| BENCH | Grease Build-up | / / |  | Clean |  |  |  | / / |
|  | Bad Concrete | / / |  | Patch |  |  |  | / / |
|  | Good Condition | / / |  |  |  |  |  | / / |
| CHANNEL | Rocks in Channel | / / |  | Clean |  |  |  | / / |
|  | Grease Build-up | / / |  |  |  |  |  | / / |
|  | Bad Corrosion | / / |  |  |  |  |  | / / |
|  | Depth of Flow | / / |  |  |  |  |  | / / |
|  | Depth of Grit | / / |  |  |  |  |  | / / |
| INTER- | CHECK | YES | NO | Leaks |  |  |  |  |  |  |
| CEPTER | Lamped |  |  |  |  |  | Incoming Lines: |  |  |  |
|  | Loose Gaskets |  |  |  |  |  | Sketch location, note size, |  |  |  |
|  | Infiltration |  |  |  |  |  | and measure height |  |  |  |
|  | Slight Corrosion |  |  |  |  |  | of all incoming lines |  |  |  |
|  | Bad Corrosion |  |  |  |  |  | (from the pipe invert.) |  |  |  |
|  | Scratch Test |  |  |  |  |  |  |  |  |  |
|  | Scratch Depth |  | Inches |  |  |  |  |  |  |  |

| Additional Comments / Observations: |  |
| --- | --- |