ELECTRICAL DISTRIBUTION SYSTEM MAINTENANCE

District Name: ______________________________________________

Date Prepared 			   Date Revised:

OBJECTIVE

To ensure adequate safety to persons engaged in maintenance and operation of electrical distribution facilities.

RATIONALE/PURPOSE

An effective switch maintenance program is essential to:

- Ensure electrical distribution system reliability.

- Develop predictive maintenance programs.

- Determine capital improvement budgeting.

- Develop loss trend analysis.

- Ensure system isolation capability.

METHODS/PROCEDURES

The following methods and procedures are recommendations that illustrate methods used by the electrical industry for electrical distribution system facilities.

Plan for the Maintenance and Operation of an Electrical Distribution System

Guidelines for maintaining and operating records for electrical distribution system should include:

- Overhead and underground line inspection and maintenance records, including pole inspection and line patrol records.

- Before digging adhere to state law requirement of notifying California 811 Underground Service Alert (USA) by dialing 811 at least two working days before excavation.

- Substation inspection and maintenance records

- Recloser and sectionalizer records

- Line voltage regulator records

This model form/template must be customized to meet your Agency’s needs.

Distribution transformer record.

- Service interruption reports and summaries of experience

- Up-to-date system maps

- Emergency restoration plan

SAFETY CONSIDERATIONS

Effective maintenance and operation of electrical facilities can help to prevent damage to property, environment, and injury to the public and employees by:

- Reviewing arc-flash warnings

- Wearing appropriate PPEs when working in, around, or on electric facilities/equipment

- Precluding electrical equipment and distribution system damage

  - Inspection and testing frequency

    - Visual observations

    - Mechanical and electrical testing

- Facilitating operations and maintenance personnel safety

  - Identify safe work practices;

    - Identify hazards

    - Switching lockout/tagout

    - Safety signs and/or warning lights

COST BENEFIT

- Reduce system failure

- Avoid costly repair and replacement

- Create a manageable capital improvement budget

- Enhance system reliability

INSPECTION FORMS/CHECKLISTS/DOCUMENTATION/ASSETS

- Distribution Inspection Cycles

REFERENCES

Electrical work shall comply with the latest revisions to the following codes and standards:

- National Electrical Code (NEC) - National Fire Protection Association (NFPA) No. 70.

- National Electrical Safety Code (NESC) - ANSI C2.

- Cal OSHA 8 CCR – 2299-2599 (Low Voltage) and 2700-2889 High Voltage.

    - Title 8, Division 1, Chapter 4, Subchapter 5 (Electrical Safety Order).

- Group 1 Low Voltage, Group 2 High Voltage safety Order.

- Occupational Safety and Health Act (OSHA).

    - Title 29 CFR 1910 Subpart S – Electrical.

    - Title 29 CFR 1926 Subpart K, Subpart V – Electrical.

- NFPA 70E- Standard for Electrical Safety Requirements for Employee Workplaces.

- International Electrical Testing Association (NETA) Section 7.