Standard Operating Guideline

Canal Structure Operations and Maintenance

District Name: ________________________________________

Date Prepared:			   Date Revised:

OBJECTIVE:

- Ensure effective system-wide preventive and predictive maintenance actions.

- Ensure periodic task accomplishment.

- Identify potential/actual system problems.

- Maintain optimum water flow/service to water customers.

RATIONALE/PURPOSE:

- Ensure mission capability.

- Ensure system reliability.

- Develop predictive maintenance programs.

- Determine capital improvement budgeting.

- Develop loss trend analysis.

- Reduce property, liability, and injury/illness loss exposures.

- Reduce revenue loss.

METHODS/PROCEDURES:

(Note: Listed procedures are intended as guidelines only and may not be applicable for all districts or situations).

Construction:

- The design should be done by qualified engineers in conjunction with facility operators.

Preventive Maintenance Procedures:

- Regularly inspect canals and levee structures during water run and when dry.

- Inspect for signs of undermining of structures.

This model form/template must be customized to meet your Agency’s needs.

- Do complete inspection at end of the season and set priorities for maintenance before the next water season.

- Operate and maintain valves and gates regularly to allow ease of operation.

- Cover valve stem threads to keep clean. Use clear plastic tubing over stems (or painted PVC, with indicator rod on gate blade) to allow observation of valve position.

- Inspect, service, and remove debris from traveling screens to maintain functionality and maximum water flow.

Operation:

- Properly store weir boards for easy access.

- Regularly remove debris from screens to prevent damage and maintain maximum water flow.

SCADA System Maintenance:

- Test all SCADA phone lines.

- Test dial-up paging and alarming, including back-up paging systems.

- Check radio signal quality functions.

- Review alarm summaries for potential system problems.

- Check instrumentation function and calibration.

- Inspect and check U.P.S and battery function and status.

INCIDENT RESPONSE: See Canal Failure Response SOG

SAFETY CONSIDERATIONS:

An effective maintenance program can help prevent damage to property, environment, and injury to the public and employees by:

- Preclude system and equipment damage.

- Preclude property and environmental damage.

- Facilitate operations and maintenance personnel safety.

  - Identify safe work practices.

    - Traffic control

    - Fall protection

  - Train employees and document.

COST/ BENEFIT:

- Reduce revenue losses.

- Preventive maintenance and loss trend data would reduce facility, equipment, and system failures.

- Avoid costly liability, property, and injury/illness losses.

- Create a manageable capital improvement budget to support effective O&M practices.

INSPECTION FORMS/CHECKLISTS/DOCUMENTATION:

- Training Log

- Canal Bank/Levee Inspection Form

- Accident/Incident Investigation Form

- LEAK/BREAK/DAMAGE Checklist

REFERENCES:

- U.S. Army Corps of Engineers, Levee Owner’s Manual for Non-Federal Flood Control Works, March 2006, Section 2.6.

- U.S. Department of Interior Bureau of Reclamation, Canal Operators Manual, January 2018