Standard Operating Guideline

Vegetation and Weed Control

District Name: ________________________________________

Date Prepared:			   Date Revised:

OBJECTIVE:

- Ensure effective system-wide preventive and predictive maintenance actions.

- Ensure periodic task accomplishment.

- Identify potential/actual system problems.

- Ensure legal, safe, and consistent handling of hazardous materials.

- Maintain canal/ditch water delivery.

- Protect adjacent property.

- Minimize evapotranspiration.

RATIONALE/PURPOSE:

- Ensure mission capability.

- Ensure system reliability.

- Develop predictive maintenance programs.

- Determine capital improvement budgeting.

- Develop loss trend analysis.

- Reduce property, liability, and injury/illness loss exposures.

- Reduce revenue loss and/or O&M cost.

- Ensure compliance with applicable governmental regulations.

METHODS/PROCEDURES:

(Note: Listed procedures are intended as guidelines only and may not be applicable for all districts or situations).

This model form/template must be customized to meet your Agency’s needs.

General

- Reform ditch banks periodically to reduce rodents and weeds.

- Clear debris from the bottom or it will make a dam.

- Eradicate weeds to observe bank conditions.

- Remove trees as soon as possible to avoid root intrusion in the canal bank.

- Mow ditch banks/levees (as opposed to weed spraying). Some vegetation helps with erosion control.

- Where applicable keep grasses cut low instead of bare earth, to allow more percolation and soil stability.

- Where allowable, keep native undisturbed ground with weeds that tend to maintain soil stability. Also, these areas usually have fewer tumbleweeds, which are more of a nuisance.

- Use post and pre-emergent weed spraying to control weeds.

- Pre-emergent effectively depends on rain to set in the ground. Water trucks may need to be used where feasible.

- Only persons properly trained or under the direction of certified applicators (QAC) may perform herbicide applications.

- All personnel involved in herbicide application must have a complete understanding of the application amounts and locations.

- When transporting herbicides to and from the application site, use the most direct travel route and avoid populated areas, if possible. Note: Any amount of product 1000-lbs. and over requires a HazMat endorsement.

- Ensure all unauthorized and/or non-essential personnel are not in the immediate area of application.

- Confine the spray to the target weeds. Avoid overspray and drift to other crops, people, animals, and waterways. Be cognizant of wind speed and direction.

- Only use herbicide products and procedures appropriate for the application.

- Properly maintain and calibrate spray equipment according to the manufacturers’ specifications.

- Be aware of potentially Harmful Algae Blooms (HAB), report suspected blooms to California Water Resources Board.

Inspection

- Inspect banks and levees regularly for weed growth.

- Do a complete inspection at end of the season and set priorities for maintenance before the next water season.

Clean-up Procedures

- Dispose of any spilled product according to the product label and applicable regulations.

- The completely empty product containers will be disposed of in accordance with the product label.

- Keep appropriate spill cleanup/containment equipment available, as necessary.

- Personnel and equipment clean up shall be in accordance with the product label, MSDS, and other applicable regulations.

- Store herbicides/pesticides in a locked and posted area.

- Triple rinse and properly dispose of all empty containers (as indicated on labels and/or SDS, previously known as MSDS). Do not reuse.

Usage Reporting

- Maintain records of product used and storage inventory.

- Properly fill out Daily Weed Report and/or Transfer Slip (including product and amount used, location, and time of day).

- Submit usage reports to appropriate agencies as may be required.

INCIDENT RESPONSE:  See Canal Failure Response SOG

- Call 911 for major exposures or injuries.

- Administer CPR and first aid.

SAFETY CONSIDERATIONS:

An effective maintenance program can help prevent damage to property, environment, and injury to the public and employees by:

- Preclude system and equipment damage.

- Preclude property and environmental damage.

- Facilitate operations and maintenance personnel safety.

Identification of safe work practices among employees should include:

- Training on Harmful Algae Blooms

- Hazardous material handling:

- First Aid/CPR procedures and supplies

- Poison Control Procedures

- Eyewash and decontamination supplies

- Spill and containment equipment

- Fall protection.

- Read SDS before starting the job. Have a copy of the SDS and label in the vehicle for emergencies.

- Follow established safe handling and operations procedures (as specified on SDS and informational sheet/label).

- Wear all safety equipment (as specified on MSDS and informational sheet/label). Use rubber gloves when handling bait, coveralls, dust cover, measuring cup, and funnel as appropriate.

- Keep all poison in a closed container.

- Before smoking or eating, wash your hands with detergent and water.

- Only trained personnel shall handle hazardous materials.

- Watch your step on uneven ground.

- Watch out for snakes.

- Have contact information and communication means available onsite.

COST/ BENEFIT:

- Reduce revenue losses.

- Avoid costly liability, property, and injury/illness losses.

- Preventive maintenance and loss trend data would reduce facility, equipment, system failures.

INSPECTION FORMS/CHECKLISTS/DOCUMENTATION:

- Training Record

- Daily Weed Control Report

- Pesticide Safety Training Record

REFERENCES:

- U.S Bureau of Reclamation, Canal Operation and Maintenance: Vegetation, November 2017

- U.S. Army Corps of Engineers, Levee Owner’s Manual for Non-Federal Flood Control Works, March 2006, Section 2.6.

- Report Form for Harmful Algae Bloom

- Harmful Algal Bloom Field Guide