Standard Operating Guideline

Canal Levee Failure

District Name:

Date Prepared:			   Date Revised:

OBJECTIVE:

- Ensure effective system-wide preventive, predictive, and rapid response actions.

- Ensure periodic task accomplishment.

- Identify potential/actual system problems.

- Maintain canal/ditch water delivery.

- Protect adjacent property.

RATIONALE/PURPOSE:

- Ensure mission capability.

- Ensure system reliability.

- Develop predictive maintenance programs.

- Determine capital improvement budgeting.

- Develop loss trend analysis.

- Reduce property, liability, and injury/illness loss exposures.

- Reduce revenue loss and/or O&M costs.

- Ensure compliance with appropriate governmental regulations.

METHODS/PROCEDURES:

(Note: Listed procedures are intended as guidelines only and may not be applicable for all districts or situations).

Before Incident

- Develop an Emergency Management Plan (EMP) to address the following:

  - How to coordinate with emergency management authorities to respond to canal incidents or failures.

This model form/template must be customized to meet your Agency’s needs.

How to respond to an uncontrolled release of water from the canal.

- Develop and implement a call out system for personnel available to respond as needed.

- Keep equipment prepared and staged to respond quickly.

- Keep emergency equipment available as needed for response.

During Incident

Follow the Districts Emergency Management Plan.

Road washout/hazard:

- Notify proper agency or road hazard/closure.

- Close road if necessary, follow proper traffic control procedures.

- Document hazard control procedures on site of incident (including notes, photos, and traffic control inspections).

- Report to district, request equipment for bank repair.

- Notify affected operations nearby (farmers, homeowners, and businesses).

- Notify the JPIA of the incident as soon as possible.

- Collect data/photos as needed for the accident report.

- Determine the cause of the incident.

- Document what was done to stop or reduce water flow from canal breach, reduce damages.

- Document what warnings/notifications were done.

- Perform repairs following district standards for soil compaction and setback requirements.

After Incident

- Notify the JPIA of the incident and possible claims.

- Review incident at safety meeting for improvements.

- Modify procedures and make improvements to avoid similar incidents.

- Updated Emergency Management Plan.

SAFETY CONSIDERATIONS:

An effective maintenance program can help to prevent damage to property, the environment, injury to employees and the public, and will help to:

- Preclude system and equipment damage.

- Preclude property and environmental damage.

- Facilitate operations and maintenance personnel safety.

Identification of safe work practices among employees should include:

- Traffic control on job sites in the field.

- Fall protection on construction and excavation projects.

- Employee training and associated documentation.

COST/BENEFIT:

- Reduce water and associated revenue losses.

- Preventive maintenance and loss trend data would reduce facility, equipment, and system failures.

- Avoid costly liability, property, and injury/illness losses.

- Create a manageable capital improvement budget to effectively address canal failures.

- Reduce preventable expenditures.

INSPECTION FORMS/CHECKLISTS/DOCUMENTATION:

- Leak/Break/Damage Checklist

- Canal Inspection Items

- Canal Breach Report

- Canal Structure Inspection Form

- Canal and Levee Self-Audit Checklist

REFERENCES:

- U.S. Bureau of Reclamation, Canal Operator Manual, January 2018

- U.S. Army Corps of Engineers, Levee Owner’s Manual for Non-Federal Flood Control Works, March 2006, Section 2.6.