Switchgear Checklist

Agency Name: ____________________________________________ Date: ______________

Employee Name: __________________________________________ Date: ______________

Job No. ____________________ Temperature              °F                   Humidity %

NAME PLATE DATA

Manufacturer					 Serial No._____________________________

Voltage Class					 Type	_______________________________

Consisting of: Total breakers _____Total instruments _____ Total relays_____

Molded case breakers _____

External condition: 	_____Good		_____Fair		_____Poor

| GENERAL INSPECTION OF EXTERIOR OF EQUIPMENT |  |  | INSPECT BREAKER AND CELL CONTACTS |  |
| --- | --- | --- | --- | --- |
| INSPECT FOR DAMGE, BENT OR TWISTED DOORS |  |  | VACUUM AND CLEAN INTERIOR OF CUBICLES |  |
| INSPECT DOOR HANDLES, LOCKING BARS AND MECHANISM |  |  | LUBRICATE DRAWOUT ASSEMBLY |  |
| CHECK DOOR INTERLOCKS FOR PROPER OPERATION |  |  | CHECK CELL INTERLOCKS AND AUXILIARY CONTACT ASSEMBLIES |  |
| CHECK CONTROL KNOBS AND SWITCHES FOR FREEDOM OF MOVEMENT AND CONTACT CONDITION |  |  | PERFORM BREKER INSPECTION AND TEST |  |
| INSPECT FOR BROKEN INSTRUMENTS, RELAY COVER(S) AND GLASS |  |  | INSPECT AND PERFORM INSULATION TEST OF POWER CABLE / BUS TO GROUND |  |

This model form/template must be customized to meet your Agency’s needs.

| INSPECT FOR PROPER GROUNDING OF EQUIPMENT |  |  | RESTORE CONTROL POWER TO SWITCHGEAR |  |
| --- | --- | --- | --- | --- |
| INSPECT BUS AND SUPPORT INSULATORS |  |  | CHECK RELAYS FOR POSITIVE TRIPPING |  |
| CLEAN BUS INSULATORS |  |  | TEST ANNUNCIATOR-ALARM FOR TARGET |  |
| DIELECTRIC TEST OF BUS WORK AND POTHEADS |  |  | CHECK PANEL LIGHTS FOR OPERATION: BURNED OUT / MISSING BULBS AND LAMP COVERS |  |
| INSPECT CONTROL AND METERING TRANSFORMERS |  |  | OPERATE CLOSE AND TRIP BREAKER CONTROLS |  |
| INSPECT AND CHECK INSTRUMENTS |  |  | CHECK AUTOMATIC TRANSFER OPERATION |  |
| CHECK CONDITION OF WIRING AND TERMINAL CONNECTIONS |  |  | MAKE FINAL VISUAL INSPECTION: REMOVE LEADS, TOOLS, ETC. |  |
| REMOVE DRAWOUT BREAKERS |  |  | NOTE AND REPORT ANY UNMARKED CIRCUITS |  |
| CHECK RAILS, GUIDES, ROLLERS AND SHUTTER MECHANISM |  |  | REPORT UNSAFE CONDITIONS |  |

Comments:

Deficiencies:

Tested by: